{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["Sheet1","2020.05.24","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":47,"n_cols":10,"rows_kept":47,"cut":false,"hidden":false,"merged":[[0,0,0,9],[5,0,6,0],[8,0,9,0],[11,0,12,0],[21,0,22,0],[27,0,28,0],[41,0,42,0],[44,0,45,0],[27,2,28,2],[41,2,42,2],[27,9,28,9]]}
["SPARE PARTS LIST OF G-SS45BT"]
["N0.","CODE","NAME",null,null,"MODEL","QUY.","MATERIAL","REMARK","PRICE（USD/PC）"]
[1,"S900.01","MAIN SWITCH","电源开关",104090001,"S900","1PC",null,null,1.5]
[2,"S900.02","THERMOSTAT","电子温控器(蓝色）",104020010,"XR02CX-5R0C1 已调","1PC",null,null,23]
[4,"U-GN2100TN.03N","FILTER","过滤网",107240007,"U-GN2100TNHT11/03#","1PC",null,null,2]
[5,"S900.05","DOWN HINGE RIGHT","右下铰链S900",5202002351,"30×68","1PC","STAINLESS",null,2.5]
[null,null,"DOWN HINGE  LEFT","左下铰链S900",5202006944,"30×68","1PC",null,null,2.5]
[6,"S900.06","DOWN HINGE AXIS","铰链轴",107110042,"S900(长）","2PCS","STAINLESS",null,1.5]
[7,"SS45BT.01","DOOR LEFT","发泡左门体SS45BT",5107000233,"SS45BT","1PC",null,null,30]
[null,null,"DOOR RIGHT","发泡右门体SS45BT",5107000232,"SS45BT","1PC"]
[8,"SS45BT.02","GASKET","门封条",108270014,"SS45BT","2PCS","PVC",null,3]
[9,"S900.10","GUIDE LEFT","层架导轨左S900",5203000129,"552×43","2PCS","STAINLESS",null,2]
[null,null,"GUIDE/RIGHT","层架导轨右S900",5203000128,"552×43","2PCS",null,null,2]
[10,"S900.11","SHELF","搁物架",109020003,"S900","2PCS","COATED STEEL",null,3]
[11,"S900.12","SIDE SUPPORT LEFT","层托A左S900",5202002362,"82×245","3PCS","STAINLESS",null,1.95]
["11a",null,"SIDE SUPPORT RIGHT","层托A右S900",5202002361,"82×245","3PCS",null,null,1.95]
[12,"S900.13","FEET","调节脚",108300183,"S900  φ10","4PCS",null,null,1]
[13,"S900.14","DRAIN PIPE NUT","水管螺母",108300064,"S900","1PC","PLASTIC",null,0.52]
[14,"S900.15","DRAIN PIPE","排水管",102050076,"SC152","1PC","PLASTIC",null,0.52]
[15,"S900.16","DRAIN PIPE COVER","堵盖",108300192,"S900","1PC","PLASTIC",null,0.26]
[16,"SS45BT.03","BODY","发泡箱体部件SS45BT",5102002016,"SS45BT","1PC"]
[17,"S900.18","BACK SUPPORT  LEFT","层托B左S900",5202002365,"68×245","1PAIR","STAINLESS","RIGHT/LEFT",1.56]
[null,null,"BACK SUPPORT  RIGHT","层托B右S900",5202002364,"68×245"]
[18,"S901.01","TOP HINGE","台板固定块GN2100TN/HT03",5201007056,"50×45","2PCS","ZINCIFY STEEL",null,0.5]
[19,"SS45BT.04","TOP","发泡台板部件SS45BT",5108000446,"SS45BT","1PC","STAINLESS",null,45]
[20,"S900.30A","AIRFLOW DUCT","导风罩",108110008,"S900","1PC","STAINLESS",null,6.5]
[21,"S900.31","SENSOR FIXED BOX","感温头固定盒",108110315,"浅灰","1PC","STAINLESS",null,0.65]
[22,"S900.32","SENSOR","感温头（黑色）",104020097,"L=1.5M JST","1PC",null,null,3]
[null,null,null,"感温头（黑色）",104020099,"尾部 JST","1PC"]
[23,"S900.33","CIRCLE FAN SUPPORT","风扇座部件S901",5114000272,"S901","1PC","STAINLESS",null,7.8]
[24,"S900.34","CIRCLE FAN","循环风机",104030036,"1238 220V","1PC",null,null,8]
[25,"S900.35","CONDENSER","冷凝器GN650TN改型内螺纹",5111000003,"GN650TN改型内螺纹","1PC",null,null,12]
[26,"S900.36","DISCHARGE TUBE","高压管",113110435,"G-SS45BT(EMT2125U)","1PC","COPPER",null,1.95]
[27,"S900.37","CONDENSER FAN","风机",104030001,"BD01-01/A73","1PC",null,null,12]
[28,"S900.38","BASKET GUARD GRILLS","冷凝风机网罩",108110342,"V200-34","1PC","COATER STEEL",null,1.95]
[29,"SC218.50","WATER PAN","外水盘",108140002,null,"1PC","PLASTIC",null,2]
[30,"GN1410TN.11E","COMPRESSOR","压缩机",104010101,"EMT2121U","1PC",null,null,80]
[33,"S900.44","FILTER DRIER","干燥过滤器",107180002,"S900/VRX进6.1*2出2.4","1PC","XH-9",null,1.3]
[34,"S900.45","UNIT BOARD","机组板S900系列/SS45BT",5202002360,"913×441","1PC","ZINCIFY STEEL",null,11]
[35,"S900.46","CONDENSER COVER BOARD","冷凝器导风板G-SS45BT",5202006553,"723×271","1PC","ZINCIFY STEEL"]
[36,"S900.47","PLUG","电源线",104050032,"欧式10-28  JST","1PC",null,null,2.6]
[37,"S900.48","JUNCTION BOX","数显盒",108300060,null,"1PC",null,null,1.95]
[null,null,null,"数显盒盖",108300061,null,"1PC",null,null,1.95]
[38,"S900.49","FRONT PANEL","百叶窗板组件 H1S900/SARO H1",5114000262,"S900/SARO H1","1PC","STAINLESS",null,12]
[39,null,"up hindge right","右上铰链",107070030,"GN2100TN","1PC"]
[null,null,"up hindge left","左上铰链",107070031,"GN2100TN","1PC"]
[40,"S900.03","PLASTIC CAP","大塑料扣（银灰色）","107216168",null,"4PCS","PLASTIC",null,0.5]

{"sheet":"2020.05.24","index":1,"n_rows":48,"n_cols":10,"rows_kept":48,"cut":false,"hidden":false,"merged":[[0,0,0,9],[5,0,6,0],[8,0,9,0],[11,0,12,0],[21,0,22,0],[27,0,28,0],[41,0,42,0],[44,0,45,0],[27,2,28,2],[41,2,42,2],[27,9,28,9]]}
["SPARE PARTS LIST OF E-G-SS45BT"]
["N0.","CODE","NAME",null,null,"MODEL","QUY.","MATERIAL","REMARK","PRICE（USD/PC）"]
[1,"S900.01","MAIN SWITCH","电源开关",104090001,"S900","1PC",null,null,1.5]
[2,"S900.02","THERMOSTAT","电子温控器(蓝色）",104020010,"XR02CX-5R0C1 已调","1PC",null,null,23]
[4,"U-GN2100TN.03N","FILTER","过滤网",107240007,"U-GN2100TNHT11/03#","1PC",null,null,2]
[5,"S900.05","DOWN HINGE RIGHT","右下铰链S900",5202002351,"30×68","1PC","STAINLESS",null,2.5]
[null,null,"DOWN HINGE  LEFT","左下铰链S900",5202006944,"30×68","1PC",null,null,2.5]
[6,"S900.06","DOWN HINGE AXIS","铰链轴",107110042,"S900(长）","2PCS","STAINLESS",null,1.5]
[7,"SS45BT.01","DOOR LEFT","发泡左门体E-SS45BT",5107001205,"E-SS45BT","1PC",null,null,30]
[null,null,"DOOR RIGHT","发泡右门体E-SS45BT",5107001206,"E-SS45BT","1PC"]
[8,"SS45BT.02","GASKET","门封条",108270014,"SS45BT","2PCS","PVC",null,3]
[9,"S900.10","GUIDE LEFT","层架导轨左E-S900",5203000331,"552×43","2PCS","STAINLESS",null,2]
[null,null,"GUIDE/RIGHT","层架导轨右E-S900",5203000332,"552×43","2PCS",null,null,2]
[10,"S900.11","SHELF","搁物架",109020003,"S900","2PCS","COATED STEEL",null,3]
[11,"S900.12","SIDE SUPPORT LEFT","层托A左E-S900",5202005754,"82×245","3PCS","STAINLESS",null,1.95]
["11a",null,"SIDE SUPPORT RIGHT","层托A右E-S900",5202005755,"82×245","3PCS",null,null,1.95]
[12,"S900.13","FEET","调节脚",108300183,"S900  φ10","4PCS",null,null,1]
[13,"S900.14","DRAIN PIPE NUT","水管螺母",108300064,"S900","1PC","PLASTIC",null,0.52]
[14,"S900.15","DRAIN PIPE","排水管",102050076,"SC152","1PC","PLASTIC",null,0.52]
[15,"S900.16","DRAIN PIPE COVER","堵盖",108300192,"S900","1PC","PLASTIC",null,0.26]
[16,"SS45BT.03","BODY","发泡箱体部件E-G-SS45BT",5102003610,"E-G-SS45BT","1PC"]
[17,"S900.18","BACK SUPPORT  LEFT","层托B左E-S900",5202005756,"68×245","1PAIR","STAINLESS","RIGHT/LEFT",1.56]
[null,null,"BACK SUPPORT  RIGHT","层托B右E-S900",5202005757,"68×245"]
[18,"S901.01","TOP HINGE","台板固定块GN2100TN/HT03",5201007056,"50×45","4PCS","ZINCIFY STEEL",null,0.5]
[19,"SS45BT.04","TOP","发泡台板部件E-SS45BT",5108000693,"E-SS45BT","1PC","STAINLESS",null,45]
[20,"S900.30A","AIRFLOW DUCT","导风罩",108110008,"S900","1PC","STAINLESS",null,6.5]
[21,"S900.31","SENSOR FIXED BOX","感温头固定盒",108110315,"浅灰","1PC","STAINLESS",null,0.65]
[22,"S900.32","SENSOR","感温头（黑色）",104020097,"L=1.5M JST","1PC",null,null,3]
[null,null,null,"感温头（黑色）",104020099,"尾部 JST","1PC"]
[23,"S900.33","CIRCLE FAN SUPPORT","风扇座部件E-S901",5114000990,"E-S901","1PC","STAINLESS",null,7.8]
[24,"S900.34","CIRCLE FAN","循环风机",104030036,"1238 220V","1PC",null,null,8]
[25,"S900.35","CONDENSER","冷凝器",113070041,"ETUC72","1PC",null,null,12]
[26,"S900.36","DISCHARGE TUBE","高压管",113110435,"G-SS45BT(EMT2125U)","1PC","COPPER",null,1.95]
[27,"S900.37","CONDENSER FAN","风机",104030001,"BD01-01/A73","1PC",null,null,12]
[28,"S900.38","BASKET GUARD GRILLS","冷凝风机网罩",108110342,"V200-34","1PC","COATER STEEL",null,1.95]
[29,"SC218.50","WATER PAN","外水盘",108140002,null,"1PC","PLASTIC",null,2]
[30,"GN1410TN.11E","COMPRESSOR","压缩机",104010091,"EMT2125U","1PC",null,null,110]
[33,"S900.44","FILTER DRIER","干燥过滤器",107180002,"S900/VRX进6.1*2出2.4","1PC","XH-9",null,1.3]
[34,"S900.45","UNIT BOARD","机组板S900系列/SS45BT",5202002360,"913×441","1PC","ZINCIFY STEEL",null,11]
[35,"S900.46","CONDENSER COVER BOARD","冷凝器导风板G-SS45BT",5202006553,"723×271","1PC","ZINCIFY STEEL"]
[36,"S900.47","PLUG","电源线",104050032,"欧式10-28  JST","1PC",null,null,2.6]
[37,"S900.48","JUNCTION BOX","数显盒",108300060,null,"1PC",null,null,1.95]
[null,null,null,"数显盒盖",108300061,null,"1PC",null,null,1.95]
[38,"S900.49","FRONT PANEL","百叶窗板组件H1 E-S900/SARO",5114000101,"E-S900/SARO","1PC","STAINLESS",null,12]
[39,null,"up hindge right","右上铰链",107070030,"GN2100TN","1PC"]
[null,null,"up hindge left","左上铰链",107070031,"GN2100TN","1PC"]
[40,"S900.03","PLASTIC CAP","大塑料扣（银灰色）","107216168",null,"4PCS","PLASTIC",null,0.5]
[41,"GN2100TN.07","DOOR BUSHING","轴套A",108300070,"Ф7","4PCS",null,null,0.5]

{"sheet":"Sheet2","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}